## Summary
THE ELEMENTS
building the nature
Project: | Renovation of PCA Stadium, Phase 11 SAS Nagar. Punjab. Phase 1 Works
S. No. | Item Description | Amount
1 | Parking and Façade | 0
2 | Entrance | 0
3 | Reception | 0
4 | Waiting Lobby | 0
5 | Staircase Lobby | 0
6 | Lounge Room | 0
7 | Bar Area | 0
8 | Player Dressing Area (National/ International) | 0
9 | Players Dressing Toilet ( National & International) | 0
10 | Public Toilets (Male/Female) | 0
11 | Outer Foyer | 0
12 | Umpire Room | 0
13 | Board Room | 0
| Total for Fixed Interior | 0
E & M Scope
14 | Electrical | 0
15 | Plumbing | 0
16 | HVAC | 0
| Total for E&M Scope | 0
| Total Amount | 0
Basic Rates are Excl GST and FOR Site.

## BOQ
THE ELEMENTS
building the nature
Project: |  | Renovation of PCA Stadium, Phase 9 SAS Nagar. Punjab. Phase 1 Works |  |  |  |  | Remarks
S.No. | DSR Ref No. | Item Description | UOM | QTY | Rate | Amount
Note : Scaffolding price upto 9 Mtr to be included in rates. For façade works above 9Mtr shall be paid as per item.
All items shall include tools and shackes, necessary hardware (nails/ Screws/ Tapes, Sealants,etc) required for installation
1 | DSR/CSR Ref No. | Parking and Façade
1.01 | CSR 8.31 | Scraping (a) White wash and colour wash/ Exterior Emulsion | Sqm | 693 |  | 0
1.02 | DSR 14.72 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding | Sqm | 1163 |  | 0
1.03 | CSR 8.31 | Scraping (a) White wash and colour wash/ Texture | Sqm | 470 |  | 0
1.04 | CSR 16.58 | Finishing walls with textured exterior paint of required shade with two or more coats applied @ 3.28 litre/10Sqm over and including base coat of water proofing Cement Paint applied @ 2.20 Kg/10 Sqm | Sqm | 470 |  | 0
1.05 | CSR 16.59 | Finishing walls with acrylic smooth exterior paint of required shade with two or more coats applied @ 1.67 litre/10Sqm over and including base coat of water proofing Cement Paint applied @ 2.20 Kg/10 Sqm | Sqm | 693 |  | 0
1.06 | CSR 14.89(b) | Providing and laying Polished Granite stone 18 mm thick flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished granite stone slab Jet Black (Basic rate 1900/Sqm) | Sqm | 54 |  | 0
1.07 | DSR 15.23 | Dismantling tile/ stone work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 2416 |  | 0
1.08 | CSR 8.06(b) | Dismantling concrete (b) Cement concrete plain 1:4:8 or 1:5:10 | Cum | 368 |  | 0
1.09 | CSR 10.11(b) | Cement concrete 1:4:8 (b) With stone aggregate 40mm gauge ii mixing by mechanical means using concrete mixer volumetric type | Cum | 368 |  | 0
1.1 | CSR 14.139 | Providing and laying 80 mm thick factory made cement concrete interlocking Paving blocks of M-40 grade manufactured by block making machine equipped with steel mould clamped to a strong vibratory table with hydraulic pressure for compaction of concrete as per IRC SP 63 -2014 and of approved size and design / shape laid in Ordinary Grey Colour and pattern over and including 40 mm thick compacted bed of coarse sand, filling the joints with fine sand etc, all complete as per directions of Engineer-in- Charge. | Sqm | 2428 |  | 0
1.11 | DSR 15.60 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Cum | 604 |  | 0
1.12 | 24.3 | Cleaning the sand stone surface and removing dirt, dust, bird dropping, grease, oil, algae, fungus, monkey beats, vegetable growth etc., including providing, applying and washing the surface with liquid Ammonia Chemical of 5% solution and other chemical cleaning agent as approved by Archaeological Survey of India/ Engineer-in-charge, of approved brand and manufacturer, with the help of required scrubbers and also cleaning with machine operated water jet mixed with desired quantity of fine silica where ever required, without causing any scratching/ damage to the stone surface and finally washing the surface with clean water with the help of pressure jet machine, complete in all respect, including taking all precautions to safeguard ventilators, windows, doors etc. by suitable covering so as to avoid any damage to the building/structure, all as per direction of Engineerin- charge (The rate is inclusive of all materials & labours involved except scaffolding). | Sqm | 2416 |  | 0 | Option 2\
NS 01 |  | Providing and fixing damaged Rough 25mm plus thick Manadana Stone of existing size in 20 to 25mm 1:4 Cement Sand Mortar as required in base and grouting of grooves in 1:4 Cement Sand Mortar (Basic Price FOR Ex GST is 380/Sqm) | Sqm | 40 |  | 0 | Option 2
|  | Total for Parking and Façade |  |  |  | 0
2 |  | Entrance
2.01 | DSR 15.23.2 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 145 |  | 0
2.02 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 23.0483 |  | 0
2.03 | CSR 8.06(b) | Dismantling concrete (b) Cement concrete plain 1:4:8 or 1:5:10 | Cum | 24.9504 |  | 0
2.04 | DSR 15.60 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | Cum | 31.9029 |  | 0
2.05 | CSr 10.11(b) | Cement concrete 1:4:8 (b) With stone aggregate 40mm gauge ii mixing by mechanical means using concrete mixer volumetric type | Cum | 21.6369 |  | 0
2.06 | CSR 14.89(b) | Providing and laying Polished Granite stone 18 mm thick flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished granite stone slab Jet Black(Basic rate 1900/Sqm) | Sqm | 142 |  | 0
2.07 | CSR 17.15 xii | Chowkats of Imp. Teak Wood confirming to ISI specification no 1003 m kiln seasoned of doors and windows including iron hold fasts, corner straps cleats, stops bolts for hold fasts etc, complete fixed in position (Section 60mm x 150mm)
2.07.1 | A | Double Rebate (60mm x 150mm) (60mmx 150mm) | Rmt | 7.4 |  | 0
2.07.2 | B | Extra over Item no 2.07.2 for using (250x60mm) | Rmt | 7.4 |  | 0
2.08 | 17.18 | Teak wood doors shutter and windows panelled glazed or panelled , screws etc. complete fixed in position (excluding cost of harware tower bolts and handles but including labour for fittings the same) (Excluding Glass and Hardware)
2.08.1 |  | 25 mm thick (Rectangular Opening Maximum Ht to be measure for Arch Section) | Sqm | 10.5 |  | 0
2.08.2 |  | Extra over for 50mm Item No 2.08.1 for 50mm Thickness ( (Rectangular Opening Maximum Ht to be measure for Arch Section)) | Sqm | 10.5 |  | 0
2.09 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : necessary scaffolding upto 5 Mtr
2.09.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 110 |  | 0
2.10 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 145 |  | 0
2.11 | CSR 16.66 | Melamine polish two or more coats to give required finish including one coat of wood filler | Sqm | 24.9504 |  | 0
Non Schedule Items
NS 2.01 |  | Providing Making and Installation and Testing of MS Signage, fabricate from 16 SWG face of letter Sheet, and 20SWG Sheet sides, with CNC Cutting/Powder Coating/Duco Paint making provision of electrical LED, and installation with 16 SWG Angle cleats fastened to wall and letters making spacing of 19mm from face of wall. | Percm | 765 |  | 0
NS 2.02 |  | Removal of existing Barricating including including disposal of Servicable Material as Directed by PCA Authorised person. | Sqm | 163.197 |  | 0
NS 2.03 |  | Removal of existing signage including necessary arrangement of Scaffolding to be done as per Safety Standards | Sqm | 2.6 |  | 0
NS 2.04 |  | Logo Improvement | Nos | 1 |  | 0
NS 2.05 |  | Providing and fixing frameless glass partition, fixed in Wall connecting profile including gasket of make Dorma SS Brush Finished Cleats alround including fixing of Wall Connecting Profile to walls/floors/slabs with necessary accessories/screws for 12mm thick glass. Wall connecting profile should have cover profile on both sides with Satin Stainless Steel finish. Glass to glass joints shall be sealed with silicon sealants etc all complete as per direction of Engineer-in-Charge. | Sqm | 15.7 |  | 0
NS 2.06 |  | Providing and Fixing 12mm Thick Toughened Glass, with V Groove Etching and Design, Floor Spring and necessary Hardware (Tower Bolt/ Dead Lock/ Handle/ Floor Spring Set with pivot 2 Nos) for main door (Door Area to be measured) All complete as per design | Sqm | 7.43 |  | 0
NS 2.07 |  | Providing, Fabricating and Installation of Barricade in MS Sections finished with duco paint as per Design given by and Architects | Sqm | 163.2 |  | 0
|  | Total for Entrance |  |  |  | 0
3 |  | Reception
3.01 | CSR 8.5 (b) | Dismantling brick work tile, masonry or tile lining In cement | Cum | 2.0108 |  | 0
3.02 | DSR 15.23.2 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 8.7361 |  | 0
3.03 | CSR 8.31 | Scraping (a) White wash and colour wash/ Texture/ Wall Paper/ Emulsion) | Sqm | 25.6506 |  | 0
3.04 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 118.4 |  | 0
3.05 | CSR 8.21 | Dismantling plank ceiling and supporting timber/ existing ceiling type | Sqm | 19.5167 |  | 0
3.06 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
3.06.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 19.52 |  | 0
3.06.2 |  | Extra for using Framing @ 450mm C/C instead of 600mm c/c and fixing 12mm ply finished with 4mm laminated MDF board | Sqm | 19.52 |  | 0
3.07 | CSR 14.115 | Providing and laying vitrified floor tiles in different sizes in light colour shades made using Full Body Technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete. ( Full body vitrified tiles have pigment in entire body / thickness of tile which makes chips and scratches less noticeable and make na ideal choice for high traffic zones.) Size 600x600 mm | Sqm | 41.171 |  | 0
3.07.1 |  | Extra over item no 3.07 for using size 2400x1200 Basic Rate 2100/Sqm | Sqm | 41.171 |  | 0
3.07.1 | DSR 11.48.4 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | Sqm | 41.171 |  | 0
3.08 | CSR 13.68 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board including providing and fixing of frame work made of special section power pressed/ role form G.I. sheet with zinc coating of grade 175 consisting of floor and ceiling channel 50mm wide having equal flanges of 32mm and 0.5mm thick fixed to the floor and ceiling at the spacing of 610mm centre to centre with dash fastener of 12.5mm dia- meter,40mm length and the studs 48mm wide having one flange of 34mm and other flange 36mm and 0.50mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610mm centre to centre by 6mm dia bolts and nuts at both ends of partition fixed flush to wall with rawl plugs at spacing 450mm centre to centre and fixing of boards to either side of frame work by 25mm drive all screws on studs, floor and ceiling channels at the spacing of 300mm centre to centre, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, joint finisher and two coats of primer suitable for board as per manufacture’s specificatior and direction of engineer-in-charge all complete.
|  | on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, Galvanised M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each with zinc coating of 120 gms/sqm(both side inclusive)) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. | Sqm | 51.67 |  | 0
3.09 | DSR 24.3 | Cleaning the sand stone surface and removing dirt, dust, bird dropping, grease, oil, algae, fungus, monkey beats, vegetable growth etc., including providing, applying and washing the surface with liquid Ammonia Chemical of 5% solution and other chemical cleaning agent as approved by Archaeological Survey of India/ Engineer-in-charge, of approved brand and manufacturer, with the help of required scrubbers and also cleaning with machine operated water jet mixed with desired quantity of fine silica where ever required, without causing any scratching/ damage to the stone surface and finally washing the surface with clean water with the help of pressure jet machine, complete in all respect, including taking all precautions to safeguard ventilators, windows, doors etc. by suitable covering so as to avoid any damage to the building/structure, all as per direction of Engineerin- charge (The rate is inclusive of all materials & labours involved except scaffolding). | Sqm | 41.17 |  | 0
3.1 | CSR 16.66 | Melamine polish two or more coats to give required finish including one coat of wood filler | Sqm | 22.119 |  | 0
3.11 | DSR 13.78 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | Sqm | 40.79 |  | 0
3.12 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 144.07 |  | 0
3.13 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats)
3.13.1 |  | Two or more coats on new work. | Sqm | 144.07 |  | 0
Non Schedule Items
NS3.01 |  | Frame for Model | Nos | 1 |  | 0
NS3.02 |  | Providing and Fixing MS Frames, with RHS, and ISA finsihed with powder coating, and adding PU painted 18mm thick MDF board to receive photo frames. Overall wall to be measured | Sqm | 51.7 |  | 0
|  | Total for Reception |  |  |  | 0
4 |  | Waiting Lobby
4.01 | DSR 15.23.2 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 33.1784 |  | 0
4.02 | CSR 8.31 | Scraping (a) White wash and colour wash | Sqm | 119.5167 |  | 0
4.03 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 221.9331 |  | 0
4.04 | DSR 24.3 | Cleaning the sand stone surface and removing dirt, dust, bird dropping, grease, oil, algae, fungus, monkey beats, vegetable growth etc., including providing, applying and washing the surface with liquid Ammonia Chemical of 5% solution and other chemical cleaning agent as approved by Archaeological Survey of India/ Engineer-in-charge, of approved brand and manufacturer, with the help of required scrubbers and also cleaning with machine operated water jet mixed with desired quantity of fine silica where ever required, without causing any scratching/ damage to the stone surface and finally washing the surface with clean water with the help of pressure jet machine, complete in all respect, including taking all precautions to safeguard ventilators, windows, doors etc. by suitable covering so as to avoid any damage to the building/structure, all as per direction of Engineerin- charge (The rate is inclusive of all materials & labours involved except scaffolding). | Sqm | 162 |  | 0
4.05 | CSR 14.115 | Providing and laying vitrified floor tiles in different sizes in light colour shades made using Full Body Technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete. ( Full body vitrified tiles have pigment in entire body / thickness of tile which makes chips and scratches less noticeable and make na ideal choice for high traffic zones.) Size 600x600 mm | Sqm | 162.5465 |  | 0
4.05.2 |  | Extra over item no 3.07 for using size 2400x1200 Basic Rate 2100/Sqm | Sqm | 162.55 |  | 0
4.06 | DSR 11.48.4 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | Sqm | 162.55 |  | 0
4.06 | CSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
4.06.1 | CSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. (In curved profile as per Drawing) (Curved Measurement will be paid) | Sqm | 130.8 |  | 0
4.07 | CSR 8.5 (b) | Dismantling brick work tile, masonry or tile lining In cement | Cum | 5.95 |  | 0
4.08 | DSR 13.78 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | Sqm | 69.61 |  | 0
4.09 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 69.6097 |  | 0
4.1 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 69.61 |  | 0
Non Schedule Items
NS 4.01 |  | Providing and Laying Wall paper on false ceiling/ walls | Sqm | 69.6097 |  | 0
NS 4.02 |  | Removing of existing MS Railing and Handrail and Refixing in position with necessary Fasteners | Sqm | 23.8848 |  | 0
NS 4.03 |  | All signage Removal | Nos | 2 |  | 0
NS 4.04 |  | New Back Drop. All complete as per drawing | Sqm | 21.4684 |  | 0
NS 4.05 |  | Providing Making and Installation and Testing of MS Signage, fabricate from 16 SWG face of letter Sheet, and 20SWG Sheet sides, with CNC Cutting/Powder Coating/Duco Paint making provision of electrical LED, and installation with 16 SWG Angle cleats fastened to wall and letters making spacing of 19mm from face of wall. | Percm | 765 |  | 0
NS 4.06 |  | Providing and Fixing MS Frames, with RHS, and ISA finsihed with powder coating, and adding PU painted 18mm thick MDF board to receive photo frames. Frame Areas to be measured | Sft | 27 |  | 0
NS 4.07 |  | Wall Panelling with 12mm MR Grade Ply and Finished with 1mm thick laminated over 4mm thick MDF | Sqm | 85 |  | 0
|  | Total for Waiting Lobby |  |  |  | 0
5 |  | Staircase Lobby
5.01 | DSR 15.23 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 48.513 |  | 0
5.02 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
5.02.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 112 |  | 0
5.03 | CSR8.31 | Scraping (a) White wash and colour wash | Sqm | 41.6357 |  | 0
5.04 | DSR 13.78 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | Sqm | 41.64 |  | 0
5.05 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 41.64 |  | 0
5.06 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 41.64 |  | 0
5.07 | CSR 16.66 | Melamine polish two or more coats to give required finish including one coat of wood filler | Sqm | 33.92 |  | 0
5.08 | CSR 14.101 | Providing and laying Laminate wooden flooring (Grade AC5 or AC5+ laminates) 6 mm to 12 mm thick, having a good backing layer made up of plastic laminate or melamine, core made up of medium-density fiberboard (MDF),which is less resistant to impact damage and less resistant to being dented by heavy furniture, having a décor layer to give each floor its appearance and consisting of one or more sheets of paper impregnated with melamine resin and top wear layer having clear aluminum oxide finish that protects the decorative layer & imparts the desired level of sheen, from full gloss to low gloss, duly fixed to the base floor using adhesive as approved by the manufacturer. | Sqm | 48.51 |  | 0
5.09 | CSR 14.89(b) | Providing and laying Polished Granite stone 18 mm thick flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | Sqm | 188 |  | 0
Non Schedule Items
NS 5.01 |  | Removing keeping in safe existing railing and refixing with suitable fasteners. | Rft | 253 |  | 0
NS 5.02 |  | Removing Signages | Sft | 1 |  | 0
NS 5.03 |  | Providing and Fixing beam panelling with 12mm Ply fixed to MS Frame and finished with 4mm thick venner// 1mm thick Laminated paste on 4mm Thick MDF | Sqm | 75.2788 |  | 0
NS 5.04 |  | Providing and Fixing beam panelling with 12mm Ply fixed to MS Frame and finished with 4mm thick venner/ 1mm thick Laminated paste on 4mm Thick MDF | Rm | 249.6951 |  | 0
NS 5.05 |  | Providing and Laying Wall paper on false ceiling/ walls | Sqm | 41.6357 |  | 0
NS 5.06 |  | Repair work to granite | Sqm | 3.3457 |  | 0
|  | Total for Staircase Lobby |  |  |  | 0
6 |  | Lounge Room
6.01 | CSR 16.66 | Melamine polish two or more coats to give required finish including one coat of wood filler | Sqm | 28.35 |  | 0
6.02 | CSR 8.2 | Dismantling plank flooring | Sqm | 295.26 |  | 0
6.03 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 295.2602 |  | 0
6.04 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
6.04.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 279 |  | 0
6.05 | CSR 14.101 | Providing and laying Laminate wooden flooring (Grade AC5 or AC5+ laminates) 6 mm to 12 mm thick, having a good backing layer made up of plastic laminate or melamine, core made up of medium-density fiberboard (MDF),which is less resistant to impact damage and less resistant to being dented by heavy furniture, having a décor layer to give each floor its appearance and consisting of one or more sheets of paper impregnated with melamine resin and top wear layer having clear aluminum oxide finish that protects the decorative layer & imparts the desired level of sheen, from full gloss to low gloss, duly fixed to the base floor using adhesive as approved by the manufacturer. | Sqm | 295.26 |  | 0
6.06 | CSR8.31 | Removing dry or oil bound distemper, water proofing cement paint/ exterior emulsion/Apex and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | Sqm | 274.6283 |  | 0
6.07 | DSR 13.78 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | Sqm | 274.63 |  | 0
6.08 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 274.6283 |  | 0
6.09 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 274.63 |  | 0
6.1 | CSR 16.66 | Melamine polish two or more coats to give required finish including one coat of wood filler
6.10.1 |  | New work | Sqm | 4.37 |  | 0
Non Schedule Items
NS 6.01 |  | Photo Frames | Nos | 25 |  | 0
NS 6.02 |  | Door Signage | Nos | 8 |  | 0
NS 6.03 |  | Door Hardware | Ls | 1 |  | 0
NS 6.04 |  | Roller Blindes of Vista Make (Blackout Series) | Sqm | 96.3755 |  | 0
NS 6.05 |  | Providing and Fixing beam panelling with 12mm Ply fixed to MS Frame and finished with 4mm thick venner | Sqm | 75.2788 |  | 0
NS 6.06 |  | Providing and Fixing beam paneeling with 12mm Ply fixed to MS Frame and finished with 4mm thick venner | Rm | 249.6951 |  | 0
NS 6.07 |  | Providing and Laying Wall paper on false ceiling/ walls | Sqm | 274.63 |  | 0
NS 6.08 |  | 12mm Toughened Glass | Sqm | 292.6829 |  | 0
|  | Total for Lounge Room |  |  |  | 0
7 |  | Bar Area
NS7.01 |  | Bar Counter to be Removed | Sqm | 6.3197 |  | 0
NS7.02 |  | Bar Cabinet to be Removed | Sqm | 15.7993 |  | 0
NS7.03 |  | Bar Counter Cabinet | Sqm | 6.3197 |  | 0
NS7.04 |  | Bar Counter Serving Counter | Sqm | 15.7993 |  | 0
|  | Total for Bar Area |  |  |  | 0
8 |  | Player Dressing Area (National/ International)
8.01 | CSR 8.20 | Dismantling plank flooring | Sqm | 166.3569 |  | 0
8.02 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 166.36 |  | 0
8.03 | CSR 8.31 | Scraping (a) White wash and colour wash | Sqm | 250.5576 |  | 0
8.04 | DSR 13.78 | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. | Sqm | 250.56 |  | 0
8.05 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 250.5576 |  | 0
8.06 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 250 |  | 0
8.07 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
8.07.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 166.36 |  | 0
8.08.4 | DSR 12.45.4 | Extra for using Framing @ 450mm C/C instead of 600mm c/c and fixing 12mm ply finished with 4mm laminated MDF board | Sqm | 19.52 |  | 0
Non Schedule Items
NS 8.01 |  | Floor Opening To be Closed with MS Section and support section in 50x50x6 ISA anncored to wall with 12x100mmm Hilti Fasteners | Sqm | 5.2974 |  | 0
NS 8.03 |  | Addition & Change of Picture Frame | Nos | 80 |  | 0
NS 8.04 |  | S/C Cut Out Panneling to be Removed | Sqm | 15.1 |  | 0
NS 8.05 |  | Wall paper | Sqm | 250.5576 |  | 0
NS 8.06 |  | Providing and Fixing beam panelling with 12mm Ply fixed to MS Frame and finished with 4mm thick venner | Sqm | 115 |  | 0
NS 8.08 |  | New flooring carpet | Sqm | 179 |  | 0
|  | Total for Player Dressing Area |  |  |  | 0
9 |  | Players Dressing Toilet ( National & International)
9.01 | DSR 15.23 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 170.9229 |  | 0
9.02 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 72.6766 |  | 0
9.03 | CSR 15.11 | 12.5 mm thick cement plaster 1:6 | Sqm | 106.3197 |  | 0
9.4 | CSR 13.8 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm ( GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns(minimum), including factory painted after bending.) in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all Tsections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
|  | spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size 24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-incharge. | Sqm | 72.6766 |  | 0
9.04.1 |  | Extra for using metal tiles as specified | Sqm | 72.6766 |  | 0
9.05 | DSR 9.08 | Providing and applying water proofing with 2 coat of tapecrete. | Sqm | 2.9275
9.06 | CSR 14.89(b) | Providing and laying Polished Granite stone 18 mm thick flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | Sqm | 48.6515 |  | 0
9.07 | DSR 11.4 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 64.5911 |  | 0
9.07.1 |  | Extra For Using 1000x800mm tile((Basic Rate of Tile Excluding GST 850/Sqm) | Sqm | 64.5911 |  | 0
9.08 | DSR 11.4 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 106.3197 |  | 0
9.08.1 |  | Extra For Using 1200x600mm tile((Basic Rate of Tile Excluding GST 1100/Sqm) | Sqm | 106.3197 |  | 0
9.1 | DSR 22.23A | Providing & Applying polymer modified, flexible cementatious negative side waterproofing coating with elastic waterproofing polymers on interior wall plaster surface in three coats @14.35 kg /10 sqm. one coat of self priming of cementatious waterproofing polymer(dilution with water in the ratio of 1:1) and two coats of cementatious waterproofing polymer (dilution with water in the ratio of 3:1 ) after scrapping and properly cleaning the surface to remove pre-existing paint film & loose particles till plaster is visible, complete in all respect as per the direction of Engineer-in-Charge. | Sqm | 64.59 |  | 0
Non Schedule Items
NS 9.01 |  | Removal and of Glass Doors/ Glass Partitions/ Wooden Partitions | Sqm | 15.6134 |  | 0
NS 9.02 |  | Anti Skid homgenous Vinyl Floor of LG Make R12 Type | Sqm | 24.1636 |  | 0
NS 9.03 |  | Providing New Door Hardware/ Signage All Complete as Per Drawing (Including hardware for modular partion and glass cubical partion) Shop Drawing to be submiited by contrator | LS | 1 |  | 0
NS 9.04 |  | Providing and Fixing Glass Doors/ Glass Partitions/ Wooden Partitions | Sqm | 15.61 |  | 0
|  | Total for Player Dressing Toilet |  |  |  | 0
10 |  | Public Toilets (Male/Female)
10.01 | DSR 15.23 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 82.0632 |  | 0
10.02 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 34.9442 |  | 0
10.03 | CSR 15.11 | 12.5 mm thick cement plaster 1:6 | Cum | 34.38 |  | 0
10.04 | CSR 10.11 | Cement concrete 1:4:8 ii with stone ballast 20mm gauge | Cum | 1.1328 |  | 0
10.05 | CSR 14.89(b) | Providing and laying Polished Granite stone 18 mm thick flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished granite stone slab Jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | Sqm | 3.7175 |  | 0
10.06 | DSR 11.4 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 30.2974 |  | 0
10.06.1 |  | Extra For Using 1000x800mm tile((Basic Rate of Tile Excluding GST 850/Sqm) | Sqm | 30.2974 |  | 0
10.07 | DSR 11.4 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 51.1152 |  | 0
10.07.1 |  | Extra For Using 1200x600mm tile((Basic Rate of Tile Excluding GST 1100/Sqm) | Sqm | 51.1152 |  | 0
10.08 | CSR 13.8 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm ( GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns(minimum), including factory painted after bending.) in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all Tsections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | Sqm | 51.12 |  | 0
10.08.1 |  | Extra for using metal tiles as specified | Sqm | 51.12 |  | 0
10.09 | DSR 22.23A | Providing & Applying polymer modified, flexible cementatious negative side waterproofing coating with elastic waterproofing polymers on interior wall plaster surface in three coats @14.35 kg /10 sqm. one coat of self priming of cementatious waterproofing polymer(dilution with water in the ratio of 1:1) and two coats of cementatious waterproofing polymer (dilution with water in the ratio of 3:1 ) after scrapping and properly cleaning the surface to remove pre-existing paint film & loose particles till plaster is visible, complete in all respect as per the direction of Engineer-in-Charge. | Sqm | 51.12 |  | 0
Non Schedule Items
NS 10.01 |  | Removal of Glass Doors/ Glass Partitions/ Wooden Partitions | Sqm | 16.2639 |  | 0
NS 10.02 |  | Anti Skid homgenous Vinyl Floor of LG Make R12 Type | Sft | 326 |  | 0
NS 10.03 |  | Providing New Door Hardware/ Signage All Complete as Per Drawing (Including hardware for modular partion and glass cubical partion) Shop Drawing to be submiited by contrator | LS | 1 |  | 0
NS 10.04 |  | Providing and Fixing Glass Doors/ Glass Partitions/ Wooden Partitions | Sqm | 16.2639 |  | 0
|  | Total for Public Toilets |  |  |  | 0
11 |  | Outer Foyer
11.01 | CSR 8.31 | Scraping (a) White wash and colour wash | Sqm | 464.684 |  | 0
11.02 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 334 |  | 0
11.03 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
11.03.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 521 |  | 0
11.04 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 521 |  | 0
11.05 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 521 |  | 0
11.06 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 148.81 |  | 0
Non Schedule Items
| NS 11.01 | Removing and Shifting of Existing Canopy and Shifting of Servicable Material as directed by PCA Authorised person. | Sqm | 186.803 |  | 0
| NS 11.02 | Addition Of Tensile Fiber | Sqm | 186.803 |  | 0
| NS 11.03 | Removing of Partition and Stacking of Servicable Material as directed by PCA Authorised person. | Sqm | 198 |  | 0
| NS 11.04 | Encasing Panel For Conduit | Rmt | 272 |  | 0
| NS 11.05 | Railing removing | Rmt | 272 |  | 0
| NS 11.06 | Frame to be Replaced With Fixed Glass Partition 12mm thick toughened glass with dorma SS brush finish clips | Sqm | 168 |  | 0
| NS 11.07 | Providing and Fixing 12mm Toughened Glass in railing and replacing of existing glass | Sqm | 168 |  | 0
|  | Total for Outer Foyer |  |  |  | 0
12 |  | Umpire Room
12.01 | DSR 15.23 | Dismantling tile work/ Kota/Granite in floors/ roofs/ cladding laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 94.7955 |  | 0
12.02 | CSR 8.5 (b) | Dismantling brick work tile, masonry or tile lining In cement | Cum | 3.5684 |  | 0
12.03 | CSR 8.21 | Dismantling plank ceiling and supporting timber | Sqm | 35.6877 |  | 0
12.04 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 85.7807 |  | 0
12.05 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 85.78 |  | 0
12.06 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 1.67 |  | 0
12.07 | DSR 12.45 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
12.07.1 | DSR 12.45.3 | 12.5 mm thick tapered edge gypsum moisture resistant board. | Sqm | 35.69 |  | 0
12.08 | CSR 14.115 | Providing and laying vitrified floor tiles in different sizes in light colour shades made using Full Body Technology (thickness to be specified by the manufacturer) with water absorption’s less than 0.08% and conforming to IS : 15622 of approved make in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement: 4 fine sand), complete. ( Full body vitrified tiles have pigment in entire body / thickness of tile which makes chips and scratches less noticeable and make na ideal choice for high traffic zones.) Size 600x600 mm | Sqm | 35.6877 |  | 0
12.08.1 |  | Extra over item no 3.07 for using size 2400x1200 Basic Rate 2100/Sqm | Sqm | 35.69 |  | 0
12.08.1 | DSR 11.48.4 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | Sqm | 35.7209 |  | 0
12.09 | DSR 11.4 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in all colours, shades, except White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including pointing the joints with white cement and matching pigments etc., complete. | Sqm | 59.1078 |  | 0
12.09.1 |  | Extra For Using 1000x800mm tile((Basic Rate of Tile Excluding GST 850/Sqm) | Sqm | 59.1078 |  | 0
12.09.2 | DSR 11.48.4 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. | Sqm | 35.7209 |  | 0
|  | Total for Umpire Room |  |  |  | 0
13 |  | Board Room
13.01 | DSR 15.23.2 | Dismantling tile work/ Flooring/Skirting laid in cement mortar including stacking material within 50 metres lead. 15.23.2 For thickness of tiles above 25 mm and up to 40 mm | Sqm | 55.7616 |  | 0
13.02 | DSR 15.57 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | Sqm | 55.7616 |  | 0
13.03 | DSR 6.4.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure upto all levels in 1:6 cement sand mortar and plastering both faces in 1:6 cement sand mortar | Cum | 0.44 |  | 0
13.04 | DSR 2.09 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37 mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50 mm long with 6 mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre,
shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with :
13.04.1 | DSR 2.09.1 | 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | Sqm | 89.39 |  | 0
13.04.2 | DSR 1.09.2 | Extra for Cove Making | Sqm | 89.39 |  | 0
13.05 | CSR 14.101 | Providing and laying Laminate wooden flooring (Grade AC4 or AC4+ laminates) 6 mm to 12 mm thick, having a good backing layer made up of plastic laminate or melamine, core made up of medium-density fiberboard (MDF),which is less resistant to impact damage and less resistant to being dented by heavy furniture, having a décor layer to give each floor its appearance and consisting of one or more sheets of paper impregnated with melamine resin and top wear layer having clear aluminum oxide finish that protects the decorative layer & imparts the desired level of sheen, from full gloss to low gloss, duly fixed to the base floor using adhesive as approved by the manufacturer. | Sqm | 53.5316 |  | 0
13.09 | CSR 16.65 | Preparation of plastered or concrete surface for painting (including sand papering the surface) using ready mixed cement based wall putty by applying two or more coats to get required finish | Sqm | 89.3916 |  | 0
13.1 | CSR 16.63 | Wall painting with plastic emulsion paint of approved brand and manufacturer to give an even shade (two or more coats) | Sqm | 89.39 |  | 0
Non Schedule Items
NS 13.01 |  | Wall Panelling with 12mm MR Grade ply and 4mm finished with 1mm laminate | Sqm | 35.86 |  | 0
0

## E&M
THE ELEMENTS
building the nature
Project: | Renovation of PCA Stadium, Phase 9 SAS Nagar. Punjab. Phase 1 Works
S.No. | DSR Ref Item No | Item Description | UOM | QTY | Rate | Amount
Note : Scaffolding price upto 9 Mtr to be included in rates. For façade works above 9Mtr shall be paid as per item.
Electrical Works : Prices are inclusive of necessary scaffolding, tools and plants, sealent adhesives required for installation
1.0 | 1 | W I R I N G
| 1.1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required.
| 1.1.3 | Group C | Point | 168 |  | 0
2.0 | 1.7 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required
| 1.7.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Metre | 1400 |  | 0
| 1.7.3 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | Metre | 30 |  | 0
| 1.7.4 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | Metre | R/o
3.0 | 1.12 | Wiring for light/ power plug with 2X4 sq. mm FR PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No 4 sq. mm FR PVC insulated copper conductor single core cable for loop earthing as required.
4.0 | 1.15 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable and 1.5 sq.mm. FR PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required.
| 1.15.1 | Group A | Point | R/o
| 1.15.2 | Group B | Point | 24 |  | 0
| 1.15.3 | Group C | Point | R/o
5 | 1 | Supplying and drawing following pair 0.5 sq mm FR PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
| 1.18.1 | 1 Pair | Metre | 400 |  | 0
| 1.18.2 | 2 Pair | Metre | R/o
| 1.18.3 | 4 Pair | Metre | R/o
6 | 1.20 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
| 1.20.1 | 20 mm | Metre | 50 |  | 0
| 1.20.2 | 25 mm | Metre | 200 |  | 0
| 1.20.3 | 32 mm | Metre | R/o
| 1.20.4 | 40 mm | Metre | R/o
| 1.20.5 | 50 mm | Metre | R/o
7 | 1.21 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
| 1.21.1 | 20 mm | Metre | 50 |  | 0
| 1.21.2 | 25 mm | Metre | 200 |  | 0
| 1.21.3 | 32 mm | Metre | R/o
| 1.21.4 | 40 mm | Metre | R/o
| 1.21.5 | 50 mm | Metre | R/o
8 | 1.22 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc as required.
| 1.22.1 | 75 mm X 75 mm X 60 mm deep | Each | R/o
| 1.22.2 | 100 mm X 100 mm X 60 mm deep | Each | R/o
| 1.22.3 | 150 mm X 75 mm X 60 mm deep | Each | R/o
| 1.22.4 | 150 mm X 150 mm X 60 mm deep | Each | R/o
| 1.22.5 | 180 mm X 100 mm X 60 mm deep | Each | R/o
| 1.22.6 | 200 mm X 125 mm X 60 mm deep | Each | R/o
9 | 1.23 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required.
| 1.23.1 | 5/6 amps switch | Each | 20 |  | 0
| 1.23.2 | 2 way 5/6 amps switch | Each | 4 |  | 0
| 1.23.3 | 15/16 amp switch | Each | 22 |  | 0
| 1.23.4 | 3 pin 5/6 amp socket outlet | Each | 5 |  | 0
| 1.23.5 | 6 pin 15/16 amp socket outlet | Each | 22 |  | 0
10 | 1.27 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
| 1.27.1 | 1 or 2 Module (75mmX75mm) | Each | R/o
| 1.27.2 | 3 Module (100mmX75mm) | Each | R/o
| 1.27.3 | 4 Module (125mmX75mm) | Each | R/o
| 1.27.4 | 6 Module (200mmX75mm) | Each | R/o
| 1.27.5 | 8 Module (125mmX125mm) | Each | R/o
| 1.27.6 | 12 Module (200mmX150mm) | Each | R/o
11 | 1.28 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.
| 1.28.1 | 1 or 2 Module | Each | R/o
| 1.28.2 | 3 Module | Each | R/o
| 1.28.3 | 4 Module | Each | R/o
| 1.28.4 | 6 Module | Each | R/o
| 1.28.5 | 8 Module | Each | R/o
| 1.28.6 | 12 Module | Each | R/o
12 | 1.42 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc., including supplying and fixing ball and socket arrangement, 2 Nos. down rods of 20 mm dia X 1.6 mm thick steel conduit up to 30 cm length, painting and wiring the down rods and connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | Each | 168 |  | 0
13 |  | Erection of metallic pole of following length in cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation including excavation and refilling etc. as required.
| 11.3.1 | Above 4.5 metre and upto 6.5 metre | Each | 16 |  | 0
| 11.3.2 | Above 6.5 metre and upto 8.0 metre | Each | R/o
14 |  | Supplying and embedding following dia G.l. pipe (medium class) in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as required.
| 11.6.1 | 32 mm dia | Metre | 150 |  | 0
| 11.6.2 | 40 mm dia | Metre | R/o
| NS | Non Schedule Supply Items
1 | 1 | Supply of Electrical Poles as per Design approved by an Architect | Nos | 16 |  | 0
2 |  | Light Fixture Supply
2.01 | 2 | Supply of architectural Inground LED fixture ranging in 12W Fixture consruction shall be of aluminium die cast Hosuing having High Purity Lens and clear tempered glass with deep inset LEDs for achieveing desired beam angle and Glare free light having minimum system lumen efficacy of 900 lumens with IP>=66 with silicone gasket for use in Dry,Damp and wet locations. Fixture designed to directly install on the ground with help of mounting screws surface mounted type with ease of mounting. LED have useful life 50000 Hrs as per LM80.Fixture should withstand input voltage range form 100V-240V and operating temperature range form -20degC to 40degC . Make: Philips, Wipro, Trilux. | Nos | 14 |  | 0
2.03 | 3 | Supply of 24V 100W IP >=65 rated LED Driver for Driving LEDs with input having inbuilt surge protection of 3KV minimum and Minimum conversion efficiency of 85%. Driver must be IS 15885 & BIS approved with R number and CE mark. | Nos | 2 |  | 0
2.04 | 4 | Supply of IP67 rated S Connectors Suitable for 2C for Connecting multiple Fixtures to enable looping of multiple fixtures to increase system efficiency. | Nos | 2 |  | 0
2.05 | 5 | Supply of IP67 rated T Connectors Suitable for 2C for Connecting multiple RGB Fixtures to enable looping of multiple fixtures with single DMX to increase system efficiency. Approved Make of Pharos, Wipro, Meanwell. | Nos | 12 |  | 0
2.06 | 6 | Supply of 35 W +/- 1W Round Hollow ring suspended fixture having Housing made up of extruded Aluminum powder coated White/Black Housing with 100lm/W ,THD<10%,PF>=0.95 CRI 80 and CCT of 4000K only with High efficiency, non-yellowing PMMA diffuser having dia of 600 mm with Surge prortection of2.5 KV. Make: Philips, Wipro, Trilux. | nos | 4 |  | 0
2.07 | 7 | Supply of IP20 12W +/-1W COB LED Reccess Mounted Downlighter with titable head having minimum system lumen efficacy of 100 lm/W with Pressure Die cast aluminium hosuing and clear glass cover having P.F.>0.95 with THD<10% ,CCT 4000K ,CRI 80.The LED life of 50000 Hrs at L70.The Input voltage range shall be 150V to 270V with surge protection 2KV. Make: Philips, Wipro, Trilux. | Nos | 40 |  | 0
2.08 | 8 | Supply of IP20 15W +/-1W Low Glare COB LED Reccess Mounted Downlighter having minimum system lumen efficacy of 90 lm/W with minimum system lumen output of 1350 lumens with Pressure Die cast aluminium hosuing with White Finish Trim and High transmittivity diffuser with Chrome Finish reflector having P.F.>0.95 with THD<10% ,CCT 4000K ,CRI 80.The LED life of 50000 Hrs at L70.The Input voltage range shall be 100V to 265V with surge protection 2.5KV. Make: Philips, Wipro, Trilux. | Nos | 78 |  | 0
2.09 | 9 | Supply of 20 W + /- 1W Decorative Pendant Mounted LED Fixture made of fiber reinforced Plastic with Diifused Glass Dome with 600 mm dia having minimum system lumens of 1300 with minimum life of 50000 burning hours, CCT 4000K, CRI 80, with surge protection of 2 KV. Make: Philips, Wipro, Trilux. | Nos | 2 |  | 0
2.1 | 10 | Supply of IP20 LED Strip Light in 5mtr spool in 10W/ Mtr having 700 lm/mtr with polymide double sided PCB housing having surge protection of 3 KV including driver. Make: Philips, Wipro, Trilux. | Nos | 50 |  | 0
2.11 | 11 | Supply of IP20 15W +/-1W COB LED Track Light with system lumen efficacy of 100 lm/W with White housing with Pressure Die cast aluminium hosuing and clear glass cover having P.F.>0.95 with THD<10% ,CCT 3000K/4000K ,CRI 80.The LED life of 50000 Hrs at L70.The Input voltage range shall be 150V to 270V. Make: Philips, Wipro, Trilux. | Nos | 56 |  | 0
2.12 | 12 | Supply of suspension mounted cylindrical led downlighter 20W +/- 1W Fixture having inset clear glass diffuser with extruded aluminium black housing having system lumen efficacy of 80 lm/W with P.F.>0.95 and THD<10% with beam angle 36 degree .The LEDs with minimum life of 50000 Hrs. The LEDs used in the luminaire shall have CCT of ANSI Bin 4000 K and CRI of minimum 80. Make: Philips, Wipro, Trilux. | nos | 22 |  | 0
2.13 | 13 | Supply of led fixture 15 W +/- 1 W LED Recess Mounted Downlighter with Deep inset diffuser for glare free lighting. Round Shape Fixture having Die Cast Heat housing and minimum system lumen efficacy of 120 lm/W with system lumen output of 1800 lumens with P.F.>0.95 and THD<10% ,CRI 80.The LED with Useful life of 50000 Hrs at L70 ,CCT of 5700 K with CRI of minimum 80.The Input voltage range shall be 150V to 270V .Fixture have Surge Protection 2kV. Make Phlips, Wipro, Trilux. | Nos | 32 |  | 0
2.14 | 14 | Supply, installation, testing and commissioning of complete loud speaker ceiling mounted type , Complete as required (Similar to Bosch LBD 0606) with metal grill with necessary wiring and conduting complete connectivity with existing speakers. | Nos | 4 |  | 0
2.15 |  | Supply of LED Module IP65 Rating of 1.0 W / Module in 6000K for Signage Lighting. Make Osram/ Philips | Nos/ Modules | 1200 |  | 0
2.16 | 15 | Supply of LED Driver for LED Modules for Signage Lighting Make Osram/Philips | Nos | 6 |  | 0
2.18 | 16 | Providing LED Pole Light 28Watt IP 65 ratingMake Philips, OSRAM | Nos | 16 |  | 0
2.18 | 17 | Providing LED Eye Ball Lights 6Watt IP 65 rating for display unis Make Philips, OSRAM | Nos | 120 |  | 0
2.19 | 18 | Pyle PDICBT852RD 250 Watt Wireless Bluetooth Speaker (Multicolor) (Basic Price 18000/-) | Nos | 9 |  | 0
| Total for Electrical |  |  |  |  | 0
Plumbing Works : Prices are inclusive of necessary scaffolding, tools and plants, sealent adhesives required for installation
Supply Pipes
| 18.85 | Providing and fixing Stainless Steel pipe and fitting of grade AISI 304 as per JIS standard 3448 complete with press type fitting (fitting shall be paid for separately) i/c fixing of the pipe with clamps at 1.00 m spacing including cutting and making good the walls including testing of joints complete as per direction of Engineer-in-charge. (The pipe length inserted in the fitting shall not be measured for payment) Internal work - Exposed on wall
| 18.85.1 | 15.88 mm outer dia Pipe | m | 135 |  | 0
| 18.85.2 | 22.22 mm outer dia Pipe | m | 33 |  | 0
| 18.85.3 | 28.58 mm outer dia Pipe | m | 12 |  | 0
| 18.85.4 | 34.00 mm outer dia Pipe | m | 24 |  | 0
| 18.85.5 | 42.70 mm outer dia Pipe | m |  |  | 0
| 18.85.6 | 48.60 mm outer dia Pipe | m |  |  | 0
| 18.87 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Coupling/Socket.
| 18.87.1 | For 15.88 mm outer dia pipe | No. | 45 |  | 0
| 18.87.2 | For 22.22 mm outer dia pipe | No. | 11 |  | 0
| 18.87.3 | For 28.58 mm outer dia pipe | No. | 4 |  | 0
| 18.87.4 | For 34.00 mm outer dia pipe | No. | 8 |  | 0
| 18.87.5 | For 42.70 mm outer dia pipe | No.
| 18.87.6 | For 48.60 mm outer dia pipe | No.
| 18.87A | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Coupling/Socket.
| 18.87A.1 | For 15 mm outer dia pipe | No.
| 18.87A.2 | For 22 mm outer dia pipe | No.
| 18.87A.3 | For 28 mm outer dia pipe | No.
| 18.87A.4 | For 35 mm outer dia pipe | No.
| 18.87A.5 | For 42 mm outer dia pipe | No.
| 18.87A.6 | For 54 mm outer dia pipe | No.
| 18.88 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Reducer
| 18.88.1 | For 22.22 mm x 15.88 mm outer dia pipe | No. | 5 |  | 0
| 18.88.2 | For 28.58 mm x 15.88 mm outer dia pipe | No. | 5 |  | 0
| 18.88.3 | For 28.58 mm x 22.22 mm outer dia pipe | No. | 3 |  | 0
| 18.88.4 | For 34.00 mm x 15.88 mm outer dia pipe | No. | 2 |  | 0
| 18.88.5 | For 34.00 mm x 22.22 mm outer dia pipe | No.
| 18.88.6 | For 34.00 mm x 28.58 mm outer dia pipe | No.
| 18.88.7 | For 42.70 mm x 15.88 mm outer dia pipe | No.
| 18.88.8 | For 42.70 mm x 22.22 mm outer dia pipe | No.
| 18.88.9 | For 42.70 mm x 28.58 mm outer dia pipe | No.
| 18.88.10 | For 42.70 mm x 34.00 mm outer dia pipe | No.
| 18.88.11 | For 48.60 mm x 15.88 mm outer dia pipe | No.
| 18.88.12 | For 48.60 mm x 22.22 mm outer dia pipe | No.
| 18.88.13 | For 48.60 mm x 28.58 mm outer dia pipe | No.
| 18.88.14 | For 48.60 mm x 34.00 mm outer dia pipe | No.
| 18.88.15 | For 48.60 mm x 42.70 mm outer dia pipe | No.
| 18.90 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Elbow 90 degrees
| 18.90.1 | For 15.88 mm outer dia pipe | No. | 25
| 18.90.2 | For 22.22 mm outer dia pipe | No. | 15
| 18.90.3 | For 28.58 mm outer dia pipe | No.
| 18.90.4 | For 34.00 mm outer dia pipe | No.
| 18.90.5 | For 42.70 mm outer dia pipe | No.
| 18.90.6 | For 48.60 mm outer dia pipe | No.
| 18.91 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge. : Reducing Elbow 90 degrees
| 18.91.1 | For 22.22 mm x 15.88 mm outer dia pipe | No. | 12
| 18.91.2 | For 28.58 mm x 15.88 mm outer dia pipe | No. | 8
| 18.91.3 | For 28.58 mm x 22.22 mm outer dia pipe | No. | 5
| 18.91.4 | For 34.00 mm x 22.22 mm outer dia pipe | No. | 3
| 18.91.5 | For 34.00 mm x 28.58 mm outer dia pipe | No.
| 18.91.6 | For 42.70 mm x 34.00 mm outer dia pipe | No.
| 18.92 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge. : Equal Tee
| 18.92.1 | For 15.88 mm outer dia pipe | No. | 5
| 18.92.2 | For 22.22 mm outer dia pipe | No. | 5
| 18.92.3 | For 28.58 mm outer dia pipe | No.
| 18.92.4 | For 34.00 mm outer dia pipe. | No.
| 18.92.5 | For 42.70 mm outer dia pipe | No.
| 18.92.6 | For 48.60 mm outer dia pipe | No.
| 18.93 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Reducing Tee
| 18.93.1 | For 22.22 mm x 15.88 mm outer dia pipe | No. | 12
| 18.93.2 | For 28.58 mm x 15.88 mm outer dia pipe | No.
| 18.93.3 | For 28.58 mm x 22.22 mm outer dia pipe | No. | 12
| 18.93.4 | For 34.00 mm x 15.88 mm outer dia pipe | No.
| 18.93.5 | For 34.00 mm x 22.22 mm outer dia pipe | No.
| 18.93.6 | For 34.00 mm x 28.58 mm outer dia pipe | No. | 12
| 18.93.7 | For 42.70 mm x 15.88 mm outer dia pipe | No. | 10
| 18.93.8 | For 42.70 mm x 22.22 mm outer dia pipe | No.
| 18.93.9 | For 42.70 mm x 28.58 mm outer dia pipe | No.
| 18.93.10 | For 42.70 mm x 34.00 mm outer dia pipe | No.
| 18.93.11 | For 48.60 mm x 15.88 mm outer dia pipe | No.
| 18.93.12 | For 48.60 mm x 22.22 mm outer dia pipe | No. | 1
| 18.93.13 | For 48.60 mm x 28.58 mm outer dia pipe | No. | 1
| 18.93.14 | For 48.60 mm x 34.00 mm outer dia pipe | No. | 2
| 18.93.15 | For 48.60 mm x 42.70 mm outer dia pipe | No. | 2
| 18.95 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Female Thread Tee
| 18.95.1 | For 15.88 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.2 | For 22.22 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.3 | For 22.22 mm outer dia x 20 mm nominal dia threaded | No.
| 18.95.4 | For 28.58 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.5 | For 28.58 mm outer dia x 20 mm nominal dia threaded | No.
| 18.95.6 | For 28.58 mm outer dia x 25 mm nominal dia threaded | No.
| 18.95.7 | For 34.00 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.8 | For 34.00 mm outer dia x 20 mm nominal dia threaded | No.
| 18.95.9 | For 34.00 mm outer dia x 25 mm nominal dia threaded | No.
| 18.95.10 | For 34.00 mm outer dia x 32 mm nominal dia threaded | No.
| 18.95.11 | For 42.70 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.12 | For 42.70 mm outer dia x 20 mm nominal dia threaded | No.
| 18.95.13 | For 42.70 mm outer dia x 25 mm nominal dia threaded | No.
| 18.95.14 | For 42.70 mm outer dia x 32 mm nominal dia threaded | No.
| 18.95.15 | For 42.70 mm outer dia x 40 mm nominal dia threaded | No.
| 18.95.16 | For 48.60 mm outer dia x 15 mm nominal dia threaded | No.
| 18.95.17 | For 48.60 mm outer dia x 20 mm nominal dia threaded | No.
| 18.95.18 | For 48.60 mm outer dia x 25 mm nominal dia threaded | No.
| 18.95.19 | For 48.60 mm outer dia x 32 mm nominal dia threaded | No.
| 18.95.20 | For 48.60 mm outer dia x 40 mm nominal dia threaded | No.
| 18.95.21 | For 48.60 mm outer dia x 50 mm nominal dia threaded | No.
| 18.96 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Female Thread Connector/Adapter.
| 18.96.1 | For 15.88 mm outer dia x 15 mm nominal dia threaded | No. | 12
| 18.96.2 | For 22.22 mm outer dia x 15 mm nominal dia threaded | No. | 10
| 18.96.3 | For 22.22 mm outer dia x 20 mm nominal dia threaded | No.
| 18.96.4 | For 28.58 mm outer dia x 15 mm nominal dia threaded | No.
| 18.96.5 | For 28.58 mm outer dia x 20 mm nominal dia threaded | No.
| 18.96.6 | For 28.58 mm outer dia x 25 mm nominal dia threaded | No.
| 18.96.7 | For 34.00 mm outer dia x 25 mm nominal dia threaded | No.
| 18.96.8 | For 34.00 mm outer dia x 32 mm nominal dia threaded | No. | 2
| 18.96.9 | For 42.70 mm outer dia x 32 mm nominal dia threaded | No.
| 18.96.10 | For 42.70 mm outer dia x 40 mm nominal dia threaded | No.
| 18.96.11 | For 48.60 mm outer dia x 40 mm nominal dia threaded | No. | 2
| 18.96.12 | For 48.60 mm outer dia x 50 mm nominal dia threaded | No.
| 18.96A | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Female Thread Connector/Adapter
| 18.96A.1 | For 15 mm outer dia x 1/2" nominal dia threaded | No. | 22
| 18.96A.2 | For 22 mm outer dia x 1/2" nominal dia threaded | No. | 22
| 18.96A.3 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
| 18.96A.4 | For 28 mm outer dia x1" nominal dia threaded | No.
| 18.96A.5 | For 35 mm outer dia x 1-1/4" nominal dia threaded | No.
| 18.96A.6 | For 42 mm outer dia x1-1/2" nominal dia threaded | No.
| 18.96A.7 | For 54 mm outer dia x 2" nominal dia threaded | No.
| 18.97A | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Male Thread Connector/Adapter
| 18.97A.1 | For 15 mm outer dia x 1/2" nominal dia threaded | No.
| 18.97A.2 | For 22 mm outer dia x 1/2" nominal dia threaded | No.
| 18.97A.3 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
| 18.97A.4 | For 28 mm outer dia x1" nominal dia threaded | No.
| 18.97A.5 | For 35 mm outer dia x 1-1/4" nominal dia threaded | No.
| 18.97A.6 | For 42 mm outer dia x1-1/2" nominal dia threaded | No.
| 18.97A.7 | For 54 mm outer dia x 2" nominal dia threaded | No.
| 18.98 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Valve Connector
| 18.98.1 | For 15.88 mm outer dia x 15 mm nominal dia threaded | No. | 15
| 18.98.2 | For 22.22 mm outer dia x 15 mm nominal dia threaded | No. | 15
| 18.98.3 | For 22.22 mm outer dia x 20 mm nominal dia threaded | No.
| 18.98.4 | For 28.58 mm outer dia x 25 mm nominal dia threaded | No.
| 18.98.5 | For 34.00 mm outer dia x 32 mm nominal dia threaded | No.
| 18.98.6 | For 42.70 mm outer dia x 40 mm nominal dia threaded | No.
| 18.98.7 | For 48.60 mm outer dia x 50 mm nominal dia threaded | No.
| 18.99 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Female Threaded Elbow 90 degrees.
| 18.99.1 | For 15.88 mm outer dia x 15 mm nominal dia threaded | No. | 20
| 18.99.2 | For 22.22 mm outer dia x 15 mm nominal dia threaded | No. | 10 |  | 0
| 18.99.3 | For 22.22 mm outer dia x 20 mm nominal dia threaded | No.
| 18.99.4 | For 28.58 mm outer dia x 25 mm nominal dia threaded | No.
| 18.99.5 | For 34.00 mm outer dia x 32 mm nominal dia threaded | No.
| 18.99.6 | For 42.70 mm outer dia x 32 mm nominal dia threaded | No.
| 18.99.7 | For 42.70 mm outer dia x 40 mm nominal dia threaded | No.
| 18.99.8 | For 48.60 mm outer dia x 40 mm nominal dia threaded | No.
| 18.99.9 | For 48.60 mm outer dia x 50 mm nominal dia threaded | No.
| 18.100 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge : Male Threaded Elbow 90 degrees
| 18.100.1 | For 15.88 mm outer dia x 15 mm nominal dia threaded | No.
| 18.100.2 | For 22.22 mm outer dia x 15 mm nominal dia threaded | No.
| 18.100.3 | For 22.22 mm outer dia x 20 mm nominal dia threaded | No.
| 18.100.4 | For 28.58 mm outer dia x 25 mm nominal dia threaded | No.
| 18.100.5 | For 34.00 mm outer dia x 25 mm nominal dia threaded | No.
| 18.100.6 | For 34.00 mm outer dia x 32 mm nominal dia threaded | No.
| 18.100.7 | For 42.70 mm outer dia x 32 mm nominal dia threaded | No.
| 18.100.8 | For 42.70 mm outer dia x 40 mm nominal dia threaded | No.
| 18.100.9 | For 48.60 mm outer dia x 40 mm nominal dia threaded | No.
| 18.100.10 | For 48.60 mm outer dia x 50 mm nominal dia threaded | No.
| 18.100A | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Male Threaded Elbow 90 degrees
| 18.100A.1 | For 15 mm outer dia x 1/2" nominal dia threaded | No.
| 18.100A.2 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
| 18.100A.3 | For 28 mm outer dia x 1" nominal dia threaded | No.
| 18.100A.4 | For 35 mm outer dia x1-1/4" nominal dia threaded | No.
| 18.100A.5 | For 42 mm outer dia x 1-1/2" nominal dia threaded | No.
| 18.100A.6 | For 54 mm outer dia x 2" nominal dia threaded | No.
| 18.101 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge. : Cap
| 18.101.1 | For 15.88 mm outer dia pipe | No. | 45 |  | 0
| 18.101.2 | For 22.22 mm outer dia pipe | No. | 33 |  | 0
| 18.101.3 | For 28.58 mm outer dia pipe | No.
| 18.101.4 | For 34.00 mm outer dia pipe | No.
| 18.102 | Providing and fixing required Stainless Steel Fitting of press fit design of grade AISI 304 conforming to JWWA G116 standard with V-profile or M-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge. : Pipe Bridge
| 18.102.1 | For 15.88 mm outer dia pipe | No.
| 18.102.2 | For 22.22 mm outer dia pipe | No.
| 18.102.3 | For 28.58 mm outer dia pipe | No.
| 18.102A | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Pipe Bridge
| 18.102A.1 | For 15 mm outer dia pipe | No. | 10 |  | 0
| 18.102A.2 | For 22 mm outer dia pipe | No. | 12 |  | 0
| 18.102A.3 | For 28 mm outer dia pipe | No.
| 18.103 | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Male Union
| 18.103.1 | For 15 mm outer dia x 1/2" nominal dia threaded | No. | 2 |  | 0
| 18.103.2 | For 22 mm outer dia x 1/2" nominal dia threaded | No. | 2 |  | 0
| 18.103.3 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
| 18.103.4 | For 28 mm outer dia x1" nominal dia threaded | No.
| 18.103.5 | For 35 mm outer dia x 1-1/4" nominal dia threaded | No. | 4
| 18.103.6 | For 42 mm outer dia x1-1/2" nominal dia threaded | No. | 4
| 18.104 | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Female Union
| 18.104.1 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
| 18.104.2 | For 28 mm outer dia x 1" nominal dia threaded | No.
| 18.105 | Providing and fixing required Stainless Steel Fitting of press fit design of grade 316L as per IS 6911:2017 and conforming to EN-10312 standards with V-profile and with O-ring sealing gasket of EPDM material of required dia as per direction of Engineer-in-charge - Female Transition Elbow / FTE
| 18.105.1 | For 15 mm outer dia x 1/2" nominal dia threaded | No. | 12 |  | 0
| 18.105.2 | For 22 mm outer dia x 1/2" nominal dia threaded | No. | 12 |  | 0
| 18.105.3 | For 22 mm outer dia x 3/4" nominal dia threaded | No.
Plumbing Fixtures
Supply of plumbing fixtures
1 |  | Providing and fixing vitreous china extended wall mounting water closet of approved shape including providing & fixing cistern with dual flush fitting, of flushing capacity 3 litre/6 litre (adjustable to 4 litre/8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete Mounting Frame, Installation Kit and “P-Type” Drain Pipe Connection Set for Wall Hung WC With FlushControl Plate Basic Price 27000/- | Each | 9 |  | 0
2 |  | Providing & fixing under counter top wash basin of Approved Make/ Colour and Specs under or over counter mounting, specially fabricated M.S. / C.I brackets painted white 32 mm C.P. brass waste, 32 mm C.P. cast brass bottle trap as per and pipe to wall with C.P. wall flange and rubber adopter for waste connection complete with single hole C.P. brass mixer fitting including cutting and making good the wall wherever required. Basic Price 13500/- | Each | 9 |  | 0
3 |  | Providing and fixing white vitreous china flat back or wall lipped front urinal basin with Sensotronic Sensor with automatic flushing valve with comlete kit as per manufactureres specifications (to the approval of Engineer-in-charge) complete in all respect. including Urinal Partition and Hanging Accesories Make: ROCA Basic Price 18500/- | Each | 13 |  | 0
4 |  | Providing and fixing Stainless Steel A ISi 304 (18/8) Jali, cutting and making good the walls wherever required : | Each | 32 |  | 0
5 |  | Providing and Fixing CP Fittings | Job | 1 |  | 0
5.01 |  | Providing and Fixing Angle Valves (Basic Price 1850/-) | Nos | 47 |  | 0
5.02 |  | Providing and Fixing 2 way divertor with spout and shower including cover plate and necessary tapes/ sealents required for installation (Basic price 18500/-) | Nos | 8 |  | 0
5.03 |  | Providing and Fixing basin mixer, floor/wall mounted/ concealed or surface mounted / with spout including cover plate and necessary tapes/ sealents required for installation as approved by an architect Basic Price (9800/-) | Nos | 8 |  | 0
6 |  | Mirror of Approved Size Specs and Frame with Golden Plating. Approved as per Drawing and Specification | Each | 8 |  | 0
7 |  | Providing and Fixing Hand Dryer (Basic Price 17800) | Each | 4 |  | 0
8 |  | RS PRO PC Indoor, Outdoor Mirror, Circular Brand RS PRO Unbreakable polycarbonate multi-purpose mirror for internal or external use. 90 ° vision | Each | 8 |  | 0
9 |  | Providing and Fixing Jaquar Versa Manual Horizontal 60 Ltr water heater VRM-WHT-H060 2 Kw 35ºC to 75ºC 400x900 (Basic Price 16000/-) with necessary mounting arrangement | Each | 5 |  | 0
|  | Total for Plumbing Works |  |  |  | 0
HVAC Works : Prices are inclusive of necessary scaffolding, tools and plants, sealent adhesives required for installation
S.No. | DSR Sr. No. | Description of Equipment | Unit | Qty |  | Total Amount
1 | 1 | Supply Installation, Testing & Commissioning of modular type Variable Refrigerant Flow/Variable Refrigerant Volume air cooled Outdoor units suitable for cooling and heating, having all hermetically sealed inverter type Scroll Compressor(s), minimum two compressors for above 14 HP modules, microprocessor based Controller, top discharge type condensing unit(s), with R 410 A Refrigerant, vibration isolators, with suitable foundation etc. complete as required. The unit shall deliver the rated capacity at AHRI Conditions and work even at 50°C ambient temperature without tripping. The unit shall be suitable to work on 400V +/- 10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with first charge of the refrigerant and ready for use as required. The COP at AHRI conditions shall not be less than 3.1 and IEER not less than 6.5 . | Nos | 98 |  | 0
2 | 2 | Supply, installation, testing and commissioning of following minimum capacity 4-way flow VRV/VRF Cassette Type Indoor ceiling mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, drain pump, grill, necessary supports, vibration isolation, cord less remote control etc., suitable for operation on single phase 230 V ± 10%, 50Hz AC supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature.
| 2.1 | 2.0 TR Four Way Cassette AC | Nos | 16 |  | 0
3 | 3 | Supply, installation, testing and commissioning of following minimum capacity and external static pressure VRF/VRV ceiling mounted ductable type Indoor unit equipped with washable synthetic media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX copper coil, electronic expansion valve, corded remote control, outer cabinet, vibration isolators, drain pan, other necessary supports etc., suitable for operation on single phase AC supply 230 V ± 10%, 50 Hz complete as required. The unit shall have automatic force shut down provision in case of fire on receiveing signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature.
| 3.1 | Mid Static Ductable units (minimum 45 pascal external static pressure)
| 3.1.1 | 2.0 TR | Nos | 2 |  | 0
| 3.2 | High Static Ductable units (minimum 110 pascal external static pressure)
| 3.2.1 | 8 TR | Nos | 2 |  | 0
4 | NS | Supply, installation, testing and commissioning of following minimum capacity Tower VRV/VRF Tower Type Indoor Floor mounted unit equipped with synthetic washable media pre-filter, fan section with low noise fan/dynamically balanced blower, multispeed motor, coil section with DX Copper coil, electronic expansion valve, outer cabinet, grill, necessary supports, vibration isolation, cord less remote control etc.,supply, complete, as required. The unit shall have automatic force shut down provision in case of fire on receiving signal from BMS System. The cooling capacity of indoor unit will be at air inlet conditions of 27 Degree C DB and 19 Degree C WB temperature.
|  | 04 TR Tower AC | Nos | 6 |  | 0
6 | 6 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/hard drawn copper refrigerant piping for VRV/VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/brazing including accessories, insulated with XPLE Class-O tubular insulation/with Class-O closed cell elastometric nitrile rubber tubular sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required :
| 6.1 | 6.4 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 95 |  | 0
| 6.2 | 9.5 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 90 |  | 0
| 6.3 | 12.7 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 85 |  | 0
| 6.4 | 15.86 mm dia (OD) (Soft drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 80 |  | 0
| 6.5 | 19 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 90 |  | 0
| 6.6 | 22.2 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 85 |  | 0
| 6.7 | 25.4 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | R/o
| 6.8 | 28.58 mm dia (OD) (Hard drawn) with tube thickness 1.2 mm with 19 mm thick insulation | RMT | 80 |  | 0
| 6.9 | 31.8 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | RMT | R/0
| 6.1 | 34.9 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | RMT | 70 |  | 0
| 6.11 | 38.1 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | RMT | 60 |  | 0
| 6.12 | 41.27 mm dia (OD) (Hard drawn) with tube thickness 1.62 mm with 19 mm thick insulation | RMT | 50 |  | 0
7 |  | Control Cabling
PVC insulated PVC sheathed twin flexible copper conductor cable Supply and erection of PVC insulated PVC Sheathed twin flexible wire with copper conductor complete in all respect as desire by the Engineer in Charge.
|  | PVC insulated PVC sheathed twin flexible copper conductor of size 1.5 Sq. mm (48/0.20mm) | Rmt | 785 |  | 0
8 |  | Providing and fixing PPRC/ UPVC 10kg/Cm2 pipes of various sizes with 6 mm Nitrile insulation for condensed water drainage from Indoor unit to nearest disposal point in toilet/ outside rain water harvesting system as approved by architect/consultant to the entire satisfaction of EIC.
|  | 25 MM | meter | 100 |  | 0
|  | 32 mm | meter | 50 |  | 0
|  | 40 MM | meter | 25 |  | 0
9 | 16.12.1 | Supply, installation, balancing and commissioning of Site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes,hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.
| 16.12.1.1 | Thickness 0.63 mm sheet 24 Guage | sq.m | 24 |  | 0
| 16.12.1.2 | Thickness 0.80 mm sheet 22 Gauge | sq.m | 30 |  | 0
10 | 16.21 | Supply and fixing of acoustic lining of supply air duct and plenum with 25 mm thick resin bonded glass wool having density of 32 kg/m³, with 25 mm X 25 mm GI section of 1.25 mm thick, at 600 mm centre to centre covered with Reinforced Plastic tissue paper and 0.5 mm thick perforated aluminum sheet fixed to inside surface of ducts with cadmium plated nuts, bolts, stick pins, CPRX compound etc. complete as required and as per specifications. | sq.m | 11 |  | 0
11 | 16.23 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class “O”) insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required.
11.1 | 16.23.1 | 19 mm | sq.m | 43 |  | 0
12 | 16.15 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications. | sq.m | 1.6 |  | 0
13 | 16.16 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | sq.m | 1 |  | 0
14 |  | CABLE TRAYS PRE PAINTED WITH POWDER COATING with neccesary supports
14.1 | 2702 | MS perforated cable tray 150 X 50 X 1.6 mm | meter | 100 |  | 0
15 |  | Masonary work | Lot | 1
16 |  | Providing and fixing of MCCB in weather proof Casing complete to the entire satisfaction of EIC.
|  | 80 Amps | Nos | 2
|  | 40 Amps | Nos | 2
|  | 25 Amps | Nos | 1
17 |  | Electrical Wore
17.1 |  | 25 sqmm 4 Core Copper Conductor | meter | 50 |  | 0
17.2 |  | 16 sqmm 4 Core Copper Conductor | meter | R/o
17.3 |  | 10 sqmm 4 Core Copper Conductor | meter | 50 |  | 0
17.4 |  | 6 Sqmm 4 Core Copper Conductor | meter | 50 |  | 0
1 |  | Removing Existing AC Supply Linear Grills | Rmt | 40 |  | 0
6 |  | Removing and Reinstallation of AC Units | Nos | 16 |  | 0
7 |  | Core Cutting upto 150mm Dia and 230mm Deep | Nos | 6 |  | 0
|  | Total for HVAC works |  |  |  | 0